{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":27,"n_cols":6,"rows_kept":27,"merged":[[1,0,1,5],[2,0,2,4],[26,5,26,6]],"flags":["formulas_cached_only"]}
["附件1"]
["台山市动物卫生监督所动物防疫专项物资采购清单"]
["申请部门：台山市动物卫生监督所",{"$nulls":4},"   日期：2025年9月5日"]
["序号","货物名称","规格型号","数量","单位","备注"]
[1,"全钢中央台","（1）品牌型号：covok C1款                                                                                                                                                                                 （2）中央台：2000*1500*800mm\na.柜体：全钢结构，优质镀锌钢板在数控加工中心、剪裁、定位打孔、折弯后加工制作,金属表面经酸洗、磷化等化学防锈处理后，环氧树脂高压静电粉沫喷涂，附着力高、表面硬度耐腐蚀性极强，外形美观。喷涂：水洗铜化、静电粉未高温固化喷涂。                                                                                                                                    b.台面采用12.7mm厚实芯理化板，边缘加厚到25.4mm，抗强酸碱和各种有机试剂，抗刻刮性能好。\nc.结构：外盖门\nd.配色：柜体高光白和门板深蓝哑光                      e.具备4个工作位，中央台两边各两个工作位。\n（3）带钢玻试剂架：1900*400*750，                                                                                                                                                  a.立柱、档条：1.0mm钢板                                                                                                                                                                        b.连接件：1.0mm钢板                                                   c.层板：8mm钢化玻璃                                                      d.带电源插座：五孔防溅插座，包台内电线。",1,"张","报价须含上门安装调试，为交钥匙报价，含运至二楼指定位置（步梯）完成安装调试。"]
[2,"抽湿机","美的CF50BD/N7-DP5",2,"台","（1）日除湿量：50L\n（2）定时功能：支持定时\n（3）额定电压：220V"]
[3,"U形96孔实验板","U底、10片/包",20,"包","Labshark"]
[4,"离心管","5mL（200个/包），连盖圆底",20,"包","biosharp"]
[5,"离心管","2mL（500个/包），连盖圆底",15,"包","biosharp"]
[6,"N95医用口罩","一次性医用防护口罩、单片独立包装，折叠型耳挂式",300,"只","双层熔喷布，防细菌飞沫雾霾，成人用"]
[7,"医用手术剪刀","医用弯尖头手术剪刀，总长度16cm",5,"把","加厚不锈钢，耐高温"]
[8,"丁腈浸胶手套","丁腈涂层，涤纶衬里",200,"双","全掌浸胶，加厚耐磨，耐油防水，手背面透气，高弹护腕"]
[9,"折叠小推车","冷轧钢板小推车，长125cm*宽75cm，8寸铁芯仿轮胎静音轮，四角防撞边，承重：3000斤",2,"辆","特厚钢板、面板有防滑花纹，钢板底部焊接加厚承重钢梁，扶手有加宽防脱挡板，轮胎为加厚精钢支架+双轴工业金胶轮"]
[10,"医用护理垫","60*90cm，（10片/包），加厚",100,"片"]
[11,"氯化钠","分析纯，500克/瓶",2,"瓶","国药沪试"]
[12,"氯化钾","分析纯，500克/瓶",2,"瓶","国药沪试"]
[13,"磷酸二氢钠","分析纯，500克/瓶",2,"瓶","国药沪试"]
[14,"磷酸氢二钠","分析纯，500克/瓶",2,"瓶","国药沪试"]
[15,"葡萄糖","分析纯，500克/瓶",1,"瓶","国药沪试"]
[16,"柠檬酸","分析纯，500克/瓶",1,"瓶","国药沪试"]
[17,"柠檬酸钠","分析纯，500克/瓶",1,"瓶","国药沪试"]
[18,"石碳酸","分析纯，500克/瓶",1,"瓶","实验用，结晶状态"]
[19,"实验室耐高温橡皮筋","70*2mm，50g",3,"包","最高可耐130℃,20min"]
[20,"耐高温组培封口膜","14*14cm，透气膜1.6cm,50张/包",2,"包","BKMAN"]
[21,"实验室封口膜","PM996，宽10cm*38m",1,"盒","PARAFILM"]
["合计","----","----","----","----"]
[{"$nulls":5},"制表人：翁艳诗"]